## Part Numbers
Recommended Replacement
Obsolete part number | Description | Replacement part number | EOC Date
140XCP90000C | 140XCP90000 CONF COAT | No replacement | 2021-12-31
TSXBATM02 | PILE POUR CARTE MEM. RAM | No replacement | 2021-12-31
TSXBATM03 | PILE MAINT. POUR MEM. RAM | No replacement | 2021-12-31
TSXMCPC002M | MEM FLASH 2MO PROG FICH | No replacement | 2021-12-31
TSXMFPP004M | MEM FLASH 4MO PROG | No replacement | 2021-12-31
TSXMRPC007M | MEM SRAM 7MO CONF | No replacement | 2021-12-31
TSXMRPC007MC | MEM SRAM 7MO CONF VERNIS | No replacement | 2021-12-31
TSXPCAPUP | PCMCIA Unit Prem Pack MEM CAP | No replacement | 2021-12-31
140ACI03000C | ANLOG IN 8 CH UNIPOLAR CC | BMXAMI0810H | 2021-12-31
140ACI04000C | ANLG IN 16CH CURRENT CC | BMXAMI0810H | 2021-12-31
140ARI03010C | RTD IN 8CH CONF COATED | BMXART0814H | 2021-12-31
140ATI03000C | TC INPUT 8 CHANNEL CC | BMXART0814H | 2021-12-31
140AVI03000C | ANLOG IN 8CH BIPOLAR CC | BMXAMI0810H | 2021-12-31
140AMM09000C | ANALOG IN/OUT 4CH/2CH CC | BMXAMM0600H | 2021-12-31
140ACO02000C | ANLG CURR OUT 4CH 12 BIT CC | BMXAMO0410H | 2021-12-31
140ACO13000C | ANLG OUT 8CH CURRENT CC | BMXAMO0802H | 2021-12-31
140AVO02000C | ANLG VOLT OUT 4CH 12 BIT CC | BMXAMO0410H | 2021-12-31
140ESI06210C | 140 ESI 062 10C | BMXNOM0200H | 2021-12-31
140DAI34000C | AC IN 24V 16PT 16X1 CC | BMXDAI1602H | 2021-12-31
140DAI35300C | AC IN 24V 32PT 4X8 CC | BMXDAI1602H | 2021-12-31
140DAI45300C | AC IN 48V 32PT 4X8 CC | BMXDAI1603H | 2021-12-31
140DAI54000C | AC IN 115V 16PT 16X1 CC | BMXDAI0814 | 2021-12-31
140DAI54300C | 115VAC INPUT MOD CC | BMXDAI1604H | 2021-12-31
140DAI55300C | AC IN 115V 32PT 4X8 CC | BMXDAI1604H | 2021-12-31
140DAI74000C | AC IN 230V 16PT 16X1 CC | BMXDAI1615H | 2021-12-31
140DAI75300C | 32E 230VCA AGRESSIF | to be replaced by BMXDAI0805H | 2021-12-31
140DDI15310C | DC IN 5V TTL 4X8 CC | No replacement | 2021-12-31
140DDI35300C | PL CONF COAT 24 VDC IN | No replacement | 2021-12-31
140DDI35310C | DC IN 24V 4X8 SOURCE CC | No replacement | 2021-12-31
140DDI36400C | DC IN 24VDC 6X16 SINK, CONFORMAL COAT | BMXDDI6402K | 2021-12-31
140DDI67300C | 140 DDI 673 00 CC | BMXDDI1604T | 2021-12-31
140DDI84100C | DC IN 10-60V CC | BMXDDI1602H or BMXDDI1603H | 2021-12-31
140DDI85300C | DC IN 10-60V 4 X 8 SINK CC | No replacement | 2021-12-31
140DSI35300C | DC IN 24VDC 4X8 SOURCE CC | No replacement | 2021-12-31
140DAM59000C | AC INPUT/OUTPUT 8PT CC | No replacement | 2021-12-31
140DDM39000C | 24VDC I/O MODULE CC | BMXDDM16022H | 2021-12-31
140DDM69000C | HPO MODULE CC | No replacement | 2021-12-31
140DAO84000C | AC OUT ISOL 24-230V 16PT CC | BMXDAO1605H | 2021-12-31
140DAO84010C | 24/115VAC OUTPUT CC | BMXDAO1605H | 2021-12-31
140DAO84210C | AC OUT 120-2230V 16PT 4X4 CC | BMXDAO1605H | 2021-12-31
140DAO84220C | AC OUT 24-48V 16PT 4X4 CC | No replacement | 2021-12-31
140DAO85300C | 32S 24-240VCA 4X8S AGRES | No replacement | 2021-12-31
140DDO15310C | DC OUT 5V TTL 4X8 CC | No replacement | 2021-12-31
140DDO35300C | PL CONF COAT 24 VDC OUT | to be replaceced by BMXDDO3202H | 2021-12-31
140DDO35301C | DC OUT 24 VDC 4X8 SOURCE CONFORMAL COAT | BMXDDO1602H | 2021-12-31
140DDO35310C | DC OUT 24V 4X8 SINK CC | BMXDDO1612H | 2021-12-31
140DDO36400C | DC OUT 6X16 SOURCE, CONFORMAL COAT | to be replaced by BMXDDO6402H | 2021-12-31
140DDO84300C | DC OUT 10-60V CC | No replacement | 2021-12-31
140DDO88500C | 125VDC OUTPUT 12PT CC | No replacement | 2021-12-31
140DRA84000C | RELAY OUT 16 PT NO CC | BMXDRA0805H | 2021-12-31
140DRC83000C | RELAY OUT 8 PT NO/NC CC | BMXDRC0805H | 2021-12-31
140DVO85300C | 10-30VDC VERIFIED OUTPUT CC | No replacement | 2021-12-31
140CRA31200C | Quantum RIO Drop E/IP 1CH Coat | BMECRA31210C | 2021-12-31
140CRA31908C | Quantum S908 adapter for M580 Coated | No replacement | 2021-12-31
140CRP31200C | Quantum Ethernet RIO Head C/Co | No replacement | 2021-12-31
140NRP31200C | QTM Fiber Converter MM/LC 2CH | BMXNRP0200C | 2021-12-31
140NRP31201C | QTM Fiber Converter SM/LC 2CH | BMXNRP0201C | 2021-12-31
140NOE77111 | ETHERNET 10/100 BASE T100FX FACTORYCAST | BMENOC0311 | 2021-12-31
140NOE77111C | ETHERNET 10/100 BASE T100FX FCTRYCST CC | BMENOC0311C | 2021-12-31
140EHC10500C | LMC 1 HSC, 2CH CC | BMXEHC0800H | 2021-12-31
140EHC20200C | HSC 1 2 CHANNEL CC | BMXEHC0200H | 2021-12-31
140CRA21110C | PL CONF COAT MB+ DROP AC | BMECRA31210C | 2021-12-31
140CRA21120C | D I/O DROP MB+DC PC 1CH CC | BMECRA31210C | 2021-12-31
140CRA21210C | D I/O DROP MB+AC PS 2CH CC | BMECRA31210C | 2021-12-31
140CRA21220C | D I/O DROP MB+DC PS 2CH CC | BMECRA31210C | 2021-12-31
140CRA93100C | S908 SINGLE CHANNEL DROP CC | BMECRA31210C | 2021-12-31
140CRA93200C | S908 DUAL CHANNEL DROP CC | BMECRA31210C | 2021-12-31
140CRP93100 | RIO HEAD S908 1CH | No replacement | 2021-12-31
140CRP93100C | S908 SINGLE-CHAN HD CC | No replacement | 2021-12-31
140CRP93200 | RIO HEAD S908 2CH | No replacement | 2021-12-31
140CRP93200C | S908 DUAL-CHANNEL HEAD CC | No replacement | 2021-12-31
140NRP95400C | Coated RIO S908 fiber optic re | BMXNRP0200C | 2021-12-31
140NRP95401C | Coated S908 single mode opt. r | BMXNRP0201C | 2021-12-31
140XBE10000C | BACKPLANE EXPANDER CC | BMXXBE1000H | 2021-12-31
140NOM21100C | PL CONF COAT SNGL CBL MDL | BMENOC0301C | 2021-12-31
140NOM21200C | MODNET DUAL CAHNNEL CC | BMXNOM0200 | 2021-12-31
140NOM25200C | FIBEROPTIC MODNET 1 CC | No replacement | 2021-12-31
140CPS11100C | AC PS 115/230VAC 3A CC | BMXCPS3500H | 2021-12-31
140CPS11420C | AC PS 115/230V SUMM CC | BMXCPS4002H | 2021-12-31
140CPS12400C | AC PS 115/230V RED CC | BMXCPS4002H | 2021-12-31
140CPS12420C | LMS AC PS 115/230V RED CC | BMXCPS4002H | 2021-12-31
140CPS21100C | DC PS 24VDC 3A CC | BMXCPS3020H | 2021-12-31
140CPS21400C | DC PS 24V 8A CC | BMXCPS3020H | 2021-12-31
140CPS22400C | DC PS 24V 8A REDUNDANT CC | BMXCPS4022H | 2021-12-31
140CPS41400C | 48VDC PS CC | BMXCPS3020H | 2021-12-31
140CPS42400C | 48VDC RED PS CC | BMXCPS4022H | 2021-12-31
140CPS51100C | 140 CPS 511 00 CC | BMXCPS3540T | 2021-12-31
140CPS52400C | 140 CPS 524 00 CC | BMXCPS4002H | 2021-12-31
140XBP00300C | PL CONF COAT BACKPLANE 3 SLOT | BMXXBP0400H | 2021-12-31
140XBP00400C | PL CONF COAT BACKPLANE 4 SLOT | BMXXBP0400H | 2021-12-31
140XBP00600C | PL CONF COAT BACKPLANE 6 | BMXXBP0600H | 2021-12-31
140XBP01000C | PL CONF COAT BACKPLANE 10 | BMEXBP0800H | 2021-12-31
140XBP01600C | PL CONF COAT BACKPLANE 16 | BMEXBP1200H | 2021-12-31
140ERT85420C | QTM TIME TAG IRIGB/DCF COATED | BMXERT1604T | 2021-12-31
140CPU65160S | QUANTUM STDALN SAFE PROCESSOR- UNITY 2K | BMEP582040S or BMEP584040S | 2021-12-31
140CPU67160S | QUANTUM HSBY SAFE PROCESSOR- UNITY 2K | BMEH582040S or BMEH584040S or BMEH586040S | 2021-12-31
140SAI94000S | QUANTUM SAFE AN IN 8CH 4-20 MA | BMXSAI0410 | 2021-12-31
140SDI95300S | QUANTUM SAFE DI IN 16CH 24VDC | BMXSDI1602 | 2021-12-31
140SDO95300S | QUANTUM SAFE DI OUT 16CH 24 VDC | BMXSDO0802 | 2021-12-31
140CFH00800 | ANALOG INPUT BLOCK,FUSEPE | No replacement | 2022-12-31
140CFI00800 | ANALOG INPUT BLOCK,NON-FUSED | No replacement | 2022-12-31
140CFJ00400 | ANALOG INPUT BLOCK,FUSEPERCHAN | No replacement | 2022-12-31
140CFK00400 | ANALOG INPUT BLOCK, NON FUSED | No replacement | 2022-12-31
140XCP90000 | QUANTUM BATTERY MODULE | No replacement | 2022-12-31
43509446 | CONN 75OHM BNC PLUG RG6 | No replacement | 2022-12-31
490RIO00211 | RG11 COAXIAL CONNECTOR | No replacement | 2022-12-31
490RIO00400 | MP COAXIAL CABLE STRIPPING TOOL | No replacement | 2022-12-31
490RIO00406 | MP RG6 CABLE BLADE PACK(FOR 490RIO00400) | No replacement | 2022-12-31
490RIO00411 | MP RG11 CABLE BLADE PACK/FOR 490RIO00400 | No replacement | 2022-12-31
490RIO0C411 | CONNECTOR INSTALLATION TOOL | No replacement | 2022-12-31
490RIO0S411 | CABLE INSTALLATION TOOL | No replacement | 2022-12-31
520402000 | TERMINATOR TAP PORT MALE | No replacement | 2022-12-31
520411000 | CONN "F" SELF-TERM QUAD | No replacement | 2022-12-31
520422000 | TRUNK TERMINATOR 75 OHMS | No replacement | 2022-12-31
520480000 | CONN COAX M/F R/A F-STYLE | No replacement | 2022-12-31
520614000 | F TO BNC ADAPTER | No replacement | 2022-12-31
600513000 | BNC-Durchf³hrungsabschlu¯ | No replacement | 2022-12-31
600544000 | HEX CRIMP TOOL FOR F-CONN | No replacement | 2022-12-31
600545000 | Grounding Set for RIO Bus | No replacement | 2022-12-31
600558000 | COAX CABLE CUTTER HI-LEVERAGE | No replacement | 2022-12-31
975750000 | Coax I/O Cabel RG6 1KFT | No replacement | 2022-12-31
975951000 | CABLE MAP/TOP QUAD RG-11 | No replacement | 2022-12-31
990NAA26320 | CABLE PROGRAMMING PC/AT R | No replacement | 2022-12-31
990NAA26350 | CABLE, IBM AT | No replacement | 2022-12-31
990XCA65609 | FIBER OPTIC CABLE | X80 | 2022-12-31
990XCP98000 | QUANTUM CPU BATTERY FOR S | No replacement | 2022-12-31
990XCP99000 | QUANTUM REPLACEMENT BATTERY 140XCP99000 | No replacement | 2022-12-31
990XTS00300 | B200 CONVERSION CONNECTOR | No replacement | 2022-12-31
ASMBII003 | DROP CBL 50FT | X80 | 2022-12-31
ASMBII004 | DROP CBL 140FT | X80 | 2022-12-31
MA0185100 | S908 RIO COAX DROP TAP | No replacement | 2022-12-31
MA0186100 | COAXIAL CABLE SPLITTER | No replacement | 2022-12-31
MA0329001 | CONNECTOR SET,CASSETTE,W/BOOTS (B) | No replacement | 2022-12-31
RPXKIT6F | KIT DERIVATION COAX.RG6 ( | No replacement | 2022-12-31
RPXKITCRP | KIT DE MISE A LA TERRE CA | No replacement | 2022-12-31
TCSMCN3M3M3S2 | RS485 Modbus cable for Quantum | No replacement | 2022-12-31
TSXCUSBMBP | USB - MODBUS PLUS CONVERTER | No replacement | 2022-12-31
TSXNTP100 | SNTP 10/100 IN/SER OUT | No replacement | 2022-12-31
140ACI03000 | AN IN 8CH UNIPOLAR | BMXAMI0810 | 2022-12-31
140ACI04000 | ANALOG INPUT 16 CHAN CURRENT | BMXAMI0810 | 2022-12-31
140ARI03010 | MODULE RTD IN 8CH 2,3,4 WIRE | BMXART0814 | 2022-12-31
140ATI03000 | TC IN 8CH | BMXART0814 | 2022-12-31
140AVI03000 | ANALOG INPUT 8CH BIPOLAR | BMXAMI0810 | 2022-12-31
140AMM09000 | ANALG IN/OUT 4CH/2CH | BMXAMM0600 | 2022-12-31
140ACO02000 | AN OUT 4CH CURR | BMXAMO0410 | 2022-12-31
140ACO13000 | ANALOG OUT 8 CHAN CURRENT | BMXAMO0802 | 2022-12-31
140AVO02000 | ANALOG OUTPUT MODULE 4CH | BMXAMO0410 | 2022-12-31
140ESI06210 | ASCII INTFC 2XRS232 | BMXNOM0200 | 2022-12-31
140CFA04000 | UNIV WIRING BLOCK STR THRU | No replacement | 2022-12-31
140CFB03200 | DIGITAL INPUT BLOCK,FUSE PERPT | No replacement | 2022-12-31
140CFC03200 | TAL BLOCK, FUSE BY GROUP | No replacement | 2022-12-31
140CFD03200 | DIGITAL INPUT BLOCK 2/3 WIRE | No replacement | 2022-12-31
140CFE03200 | DIGITAL OUTPUT BLOCK,FUSE | No replacement | 2022-12-31
140CFG01600 | DIGITAL OUTPUT BLOCK,FUSEPERPT | No replacement | 2022-12-31
140CFU00600 | USE KIT 1/16 AMP QTY 10 | No replacement | 2022-12-31
140CFU08000 | FUSE KIT 0.8 AMP QTY 10 | No replacement | 2022-12-31
140CFU40000 | FUSE KIT 4 AMP QTY 10 | No replacement | 2022-12-31
140CFX00110 | TERMINAL BLOCK COMMON ST | No replacement | 2022-12-31
140CFX00210 | FUSE REPLACEMENT JUMPER | No replacement | 2022-12-31
140XCA71703 | CABLE ASSY | BMXXBC120K | 2022-12-31
140XCA71706 | CABLE ASSY | BMXXBC015K | 2022-12-31
140XCA71709 | CABLE ASSY | BMXXBC030K | 2022-12-31
140XCP20000 | CODING KIT | No replacement | 2022-12-31
140XCP40100 | MNTNG BRACKET 125 MM | No replacement | 2022-12-31
140XCP40200 | MNTNG BRACKET 20 MM | No replacement | 2022-12-31
140XCP50000 | EMPTY MODULE | BMXXEM010 | 2022-12-31
140XCP51000 | MODULE EMPTY W/DOOR | BMXXEM010 | 2022-12-31
140XCP60000 | TERM STRIP JUMP KIT | No replacement | 2022-12-31
140XTS00100 | TERM STRIP 40 POSITION IP20 | No replacement | 2022-12-31
140XTS00200 | TERMINAL STRIP 40 Points | BMXFTB2820 | 2022-12-31
140XTS00203 | ASSY STD CABLEFAST 3FT | No replacement | 2022-12-31
140XTS00206 | ASSY STD CABLEFAST 6FT | No replacement | 2022-12-31
140XTS00209 | ASSY STD CABLEFAST 9FT | No replacement | 2022-12-31
140XTS00212 | ASSY STD CABLEFAST 12FT | No replacement | 2022-12-31
140XTS00500 | TERM STRIP 7 POSITION IP20 | No replacement | 2022-12-31
140XTS01203 | ASSY HP CABLEFAST 3FT | No replacement | 2022-12-31
140XTS01206 | ASSY HP CABLEFAST 6FT | No replacement | 2022-12-31
140XTS01209 | ASSY HP CABLEFAST 9FT | No replacement | 2022-12-31
140XTS01212 | ASSY HP CABLEFAST 12FT | No replacement | 2022-12-31
140XTS10206 | ASSY CABLEFAST W/PT 6FT | No replacement | 2022-12-31
140XTS10215 | ASSY CABLEFAST W/PT 15FT | No replacement | 2022-12-31
140DAI34000 | MODULE AC IN 24V 16 PT 16 | BMXDAI1602 | 2022-12-31
140DAI35300 | LMS AC IN 24V 32PT 4 X 8 | BMXDAI1602 | 2022-12-31
140DAI45300 | MODULE AC IN 48V 32PT 4 X | BMXDAI1603H | 2022-12-31
140DAI54000 | AC IN 115V 16 X 1 | BMXDAI0814 | 2022-12-31
140DAI54300 | INPUT MODULE 115VAC | BMXDAI1604 | 2022-12-31
140DAI55300 | AC IN 115V 4 X 8 | BMXDAI1604 | 2022-12-31
140DAI74000 | AC IN 230V 16 X 1 | BMXDAI1615 | 2022-12-31
140DAI75300 | AN IN 230V 2X8 | BMXDAI0805 | 2022-12-31
140DDI15310 | DC IN 5V TTL 4 X 8 | No replacement | 2022-12-31
140DDI35300 | DISCRETE DC INPUT MODULE | No replacement | 2022-12-31
140DDI35310 | DC IN 24V 4 X 8 SOURCE | No replacement | 2022-12-31
140DDI36400 | DC IN 24VDC 6X16 SINK | BMXDDI6402K | 2022-12-31
140DDI67300 | MODULE INPUT 125VDC 3X8 | BMXDDI1604T | 2022-12-31
140DDI84100 | DC IN 10-60V 8X2 SINK | BMXDDI1602 or BMXDDI1603 | 2022-12-31
140DDI85300 | DC IN 10-60V 4 X 8 SINK | No replacement | 2022-12-31
140DSI35300 | DC IN 24VDC 4X8 SOURCE | No replacement | 2022-12-31
140DAM59000 | DISCRETE AC IN/OUT 115VAC | No replacement | 2022-12-31
140DDM39000 | MODULE 24VDC INPUT/OUTPUT | BMXDDM16022 | 2022-12-31
140DDM69000 | HPO MODULE | No replacement | 2022-12-31
140DAO84000 | AC OUT 24-230V 16 X 1 | BMXDAO1605 | 2022-12-31
140DAO84010 | 24/115VAC OUTPUT | BMXDAO1605 | 2022-12-31
140DAO84210 | AC OUT 100-230V 4 X 4 | BMXDAO1605 | 2022-12-31
140DAO84220 | AC OUT 24-48V 16PT 4 X 4 | No replacement | 2022-12-31
140DAO85300 | AC OUT 24-230V 4X8 | No replacement | 2022-12-31
140DDO15310 | 1080UT 5V TTL 4 X 8 | No replacement | 2022-12-31
140DDO35300 | DISCRETE DC OUTPUT 24V 4 | BMXDDO3202K | 2022-12-31
140DDO35301 | DC OUT 24VDC 4x8 SOURCE | BMXDDO1602 | 2022-12-31
140DDO35310 | DC OUT 24V 4 X 8 SINK | BMXDDO1612 | 2022-12-31
140DDO36400 | DC OUT 24VDC 6X16 SOURCE | BMXDDO6402K | 2022-12-31
140DDO84300 | DC OUT 10-60V 2 X 8 SOURC | No replacement | 2022-12-31
140DDO88500 | 125VDC OUTPUT 12PT | No replacement | 2022-12-31
140DRA84000 | RELAY OUT 16 X 1 NO | BMXDRA0805 | 2022-12-31
140DRC83000 | RELAY OUT 8 X 1 NO/NC | BMXDRC0805 | 2022-12-31
140DVO85300 | 10-30VDC VERIFIED OUTPUT | No replacement | 2022-12-31
140CRA31200 | Quantum RIO Drop E/IP 1CH | BMECRA31210 | 2022-12-31
140CRA31908 | Quantum S908 adapter for M580 | No replacement | 2022-12-31
140CRP31200 | Quantum Ethernet RIO Head | No replacement | 2022-12-31
140NRP31200 | QTM Fiber Converter MM/LC 2CH | BMXNRP0200 | 2022-12-31
140NRP31201 | QTM Fiber Converter SM/LC 2CH | BMXNRP0201 | 2022-12-31
140EHC10500 | 5 HI SPEED CTR 20/100 KHZ | BMXEHC0800 | 2022-12-31
140EHC20200 | HI-SPEED CTR 2CH 500KHZ | BMXEHC0200 | 2022-12-31
140CRA21110 | DIO DROP MB+ AC PS 1CH | BMECRA31210 | 2022-12-31
140CRA21120 | DIO DROP MB+ DC PS 1CH | BMECRA31210 | 2022-12-31
140CRA21210 | DIO DROP MB+ AC PS 2CH | BMXCRA31200 | 2022-12-31
140CRA21220 | DIO DROP MB+ DC PS 2CH | BMXCRA31200 | 2022-12-31
140CRA93100 | RIO DROP S908 1CH | BMECRA31210 | 2022-12-31
140CRA93200 | RIO DROP S908 2CH | BMECRA31210 | 2022-12-31
140NRP95400 | Remote I/O S908 fiber optic re | BMXNRP0200 | 2022-12-31
140XBE10000 | backplane expander | BMXXBE2005 | 2022-12-31
140NOM21100 | MB+ HEAD 1CH | BMENOC0301 | 2022-12-31
140NOM21200 | MB+ HEAD 2CH | BMENOC0301 | 2022-12-31
140NOM25200 | FIBEROPTIC MODNET 1 | No replacement | 2022-12-31
140CPS11100 | AC PS 115/230VAC 3A | BMXCPS3500 | 2022-12-31
140CPS11420 | AC PS 115/230V SUMM | BMXCPS4002 | 2022-12-31
140CPS12400 | LMS AC PS 115/230V RED | BMXCPS4002 | 2022-12-31
140CPS12420 | LMS AC PS 115/230V RED | BMXCPS4002 | 2022-12-31
140CPS21100 | POWER SUPPLY DC PS 24VDC | BMXCPS3020 | 2022-12-31
140CPS21400 | DC PS 24V 8A | BMXCPS3020 | 2022-12-31
140CPS22400 | DC PS 24V 8A REDUNDANT | BMXCPS4022 | 2022-12-31
140CPS41400 | QUANTUM POWER SUPP 48VDC | BMXCPS3020 | 2022-12-31
140CPS42400 | QUANTUM POWER SUPPLY 48VDC | BMXCPS4022 | 2022-12-31
140CPS51100 | DC PS 125VDC 3A | BMXCPS3540T | 2022-12-31
140CPS52400 | POWER SUPPLY 125 VDC RED | BMXCPS4002 | 2022-12-31
467NHP81100 | 467 NHP 811 00-PC/DP PKG | No replacement | 2022-12-31
140XBP00300 | BACKPLANE 3 SLOT | BMXXBP0400 | 2022-12-31
140XBP00400 | BACKPLANE 4 SLOT | BMXXBP0400 | 2022-12-31
140XBP00600 | BACKPLANE 6 SLOT | BMXXBP0600 | 2022-12-31
140XBP01000 | BACKPLANE 10 SLOT | BMEXBP0800 | 2022-12-31
140XBP01600 | Backplane 16 slots | BMEXBP1200 | 2022-12-31
140ERT85420 | QTM TIME TAG IRIGB/DCF | BMXERT1604T | 2022-12-31
140ERT85430 | QTM RT TIME TAG IRIGB/DCF | BMXERT1604T | 2022-12-31